North Tyneside Council

We are seeking applications from suitable organisations that are interested in tendering for the following.

| Title |  |
| --- | --- |
| Water Machines 2025 |  |
| Additional info |  |
| North Tyneside Council seeks suppliers to provide, install, and maintain a range of water dispensing machines across multiple council sites. General All machine locations will have a main water supply within 600mm of water machine location and electrical power supply. To be installed in line with British Water’s Code of Practice for Water Coolers and Water Regulations Advisory Scheme (WRAS) ensuring compliance with the Water Supply (Water Fittings) Regulations 1999. Requirements - Ability to fit a range of receptacle sizes. - No single use cup holders. - Mains fed floor standing and countertop versions. - Bottled fed option. - Flood guard system to prevent leakages from mains feed. - White and Black models. - Servicing and maintenance offer including quarterly sanitisation and annual filter replacement. - Rental and purchase options. - Service only option for council owned machines. Performance - High-Capacity Chill, minimum of 30 litres per hour. - Thermostatically controlled temperature between 5-7º C. - Large drip tray capacity minimum 1.5litres. - Filtration system e.g. carbon block filter. - Quiet functionality. - Fitted 3 pin plug and minimum 1.2 metre extension cord. |  |
| Start Date | Contract Duration |
| 03/11/2025 | 2 x 12 with option to extend by a further 12 months |
| OPEN Portal Reference | Pre market engagement submission deadline |
| OPEN20251489 | N/A |

You can register your interest against this opportunity and gain direct access to the tender documents on the ProContract electronic tendering portal on the web site using the link in the title above.

Expressions of interest and tender submissions must be received via the ProContract electronic tendering portal. Email applications or tender submissions will not be accepted. As soon as you register interest in the opportunity you will have immediate access to the tender pack on your Activity page in the portal.

Any clarification questions or requests for further information must be sent via the Messaging section on the ProContract electronic tendering portal.

Unregistered suppliers will be directed to complete a Supplier Registration form before they can register interest. There is a video tutorial available on the our web site to assist with the registration process.

No previous application or expression of interest shall be taken as an application for the purposes of this notice.